Gel Documentation Form and Worksheet

KIR HLA Ligand

(101.201-12/12u)	                                                        Lot: 4E6                                     Expiry Date:   2019-04-01

Name:____________________

Sample ID:________________

DNA Conc.(ng/ul):___________

Test  Date: _______________

Tested By: _______________

Review Date:_______________

Reviewed By:_______________

Interpretation:___________	Failed lanes: _____________ 	 Comments:_________________

Gel Picture

PHOTO DOCUMENT

‘ICB’ Internal Control Band,

‘AmpS’ Amplicon size

Notes: Product sizes are approximate. For detailed information, see the lot-specific Specificity Table and Interpretation Table.

This table is intended as a guide. For interpretation always use the Interpretation Table and/or Specificity Table.

The primer pairs in primer mix 1 will not amplify the C*01:46Asn80, C*07:78:02 Asn80, C*07:426 Asn80, C*07:459 Asn80 ,C*07:478 Asn80 and C*16:94 Asn80 alleles.

The primer pairs in primer mix 2 will also amplify the C*05:32Arg80, C*06:160 Gln80, C*15:60Gln80 and C*15:71Ile80 alleles.

The primer pairs in primer mix 3 will not amplify the B*44:05:03 Thr80,  B*44:152Thr80, B*44:196 Thr80 alleles.

The primer pairs in primer mix 6 will not amplify the B*27:49 Thr80, B*27:142 Thr80, B*37:10 Thr80 and B*47:04 Thr80 alleles.

Primer mix 7 contains a negative control, which will amplify more than 95% of HLA amplicons as well as the amplicons generated by the control primer pairs matching the human growth hormone gene. HLA-specific PCR product sizes range from 75 to 200 base pairs and the PCR product generated by the HGH positive control primer pair is 430 base pairs.

1HLA-A, HLA-B and HLA-C alleles listed on the IMGT/HLA web page 2016-July-14, release 3.25.0, www.ebi.ac.uk/imgt/hla.

2Alleles that have been deleted from or renamed in the official WHO HLA Nomenclature up to and including the last IMGT/HLA database release can be retrieved from web page http://hla.alleles.org/alleles/deleted.html.